541522

Laminate
Description: HARO TRITTY 100 Gran Via 4V Oak Bergamo Silver Grey authentic soft 541522
Design: Gran Via
Style: Oak Bergamo Silver Grey
Surface: authentic soft
Bevel: 4V
Installation system: Top Connect
Insulation underlay: Silent Pro
Dimensions mm (HxWxL): 10,00 x 243,00 x 2200,00
PU (boards): 4 piece
PU (M2): 2,140 m²
Level of use (private/commercial): 23 / 32
Abrasion resistance: AC4
Installation: Floating installation
Made in Germany
Guarantee (private): 25
Blue Angel: yes
CE label: yes
Ideal for underfloor heating: yes
Thermal resistance: 0,065 m² K/W
Flammability class: CFLS1
Slip resistance: R9
Antistatic class Standard: DIN EN 1815
Impact resistance class: ≥ 12 N / ≥ 750 mm
plasticizer-free
Item number: 541522